## Copyright 2010
Copyright: Washington State University Extension Energy Program*
© 2010*
*WSUEEP grants limited, conditional permission to Designated Users for:
1. Creation and distribution of free copies of the Spreadsheets and Workbooks, including electronic reproduction;
2. Editing of unprotected cells; and
3. Printing results from the Workbooks;
The condition for permission is that the source of any materials copied or used from the Spreadsheets or Workbooks shall be acknowledged as: "Copied by permission from Washington State University Extension Energy Program."
No other use or purpose for copying is permitted including, without limitation, changing password protected cells in the Workbooks or selling or using the Spreadsheets and Workbooks in any way calculated to derive profit as a product or service. Report any violations of this Copyright Policy to:
EnergyCode@energy.wsu.edu
All other rights reserved.
Washington State Energy Code
Prescriptive Worksheet, Climate Zone 1
For All Residential Occupancies
2010 Edition, July 1, 2010
WSUEEP10-010
Prepared by: Gary Nordeen, Luke Howard, Andrew Gordon, Emily Salzberg
Funded in part by:
The U.S. Department of Energy &
Northwest Energy Efficiency Alliance
Washington State University
Extension Energy Program
905 Plum Street SE
P.O. Box 43165
Olympia, WA 98504-3165
E-mail: EnergyCode@energy.wsu.edu

## Instructions
Washington State Energy Code
Prescriptive Approach - Worksheet Instructions
For the Washington State Energy Code, the prescriptive approach is the simplest method of code compliance. However, depending on the prescriptive option and exceptions used, documentation of compliance can be quite complex.
This set of forms has been developed to assist permit applicants documenting compliance with the
Washington State Energy Code, (2009 edition). These forms are provided as a compliance tool but it is the decision of each individual jurisdiction if completion of them is a submittal requirement. These forms contain embedded formulas and links. They are intended to be completed using Excel® software.
The following forms provide much of the required documentation for plan review. The details noted here
must also be shown on the drawings (WSEC 104.2).
This form is not a substitute for the energy code itself. To obtain a copy of the energy code,
go to the following web address. http://www.energy.wsu.edu/code
Which worksheets do I need to complete?
There are three worksheets included in this set of forms.
General Compliance Worksheet:
Glazing Schedule Worksheet:
Heating Sizing Worksheet:
Heating Sizing Worksheet:
The energy and residential code requires a heating and cooling sizing calculations for all projects. If you are using this set of worksheets to size the heating system, you will need to complete all the worksheets. If a ACCA Manual J (or equivalent) heating and/or cooling system sizing calculation is submitted, the heating size worksheet does not need to be completed. It is important to note that the codes also require a cooling system size calculation. This form will not provide the cooling calculation. It does not have the needed solar gains function. If a cooling system is included in the submission, perform a Manual J or equivalent calculation.
Glazing Schedule Worksheet:
There are three reasons to complete the Glazing Schedule. If none apply to your project, you do not need to complete the Glazing Schedule worksheet. A glazing schedule is required to meet the following conditions.
1. The Prescriptive option includes a glazing to floor area limit (WSEC 602.7.2)
2. Not all the windows, skylights or doors comply with the maximum U-factor requirement. Qualification will be demonstrated using an area weighted window, skylight or door U-factor (WSEC 602.7.2)
3. As part of the heating and cooling system sizing calculation (IRC M1401.3 & WSEC 503.2.2)
General Compliance worksheet:
The General Compliance worksheet documents the prescriptive option chosen to show compliance. It also provides a few checks on insulation compliance that need more detailed input. This worksheet is also used to document the reason for submission of the Glazing Worksheet.
If you are choosing a limited glazing area prescriptive option, completing the Glazing Schedule will be the first task.
Completing the General Compliance Worksheet
This is a simple fill in form.
Fill in project information on this worksheet. It will be copied to the other worksheets.
Note what options will be chosen to show compliance.
Note the glazing documentation included.
If you are using an unlimited glazing path, all windows and doors meet the maximum U-factor requirements and a Manual J (or approved alternative) heating system size calculation is submitted, this is the only form that needs to be completed.
Completing the Glazing Schedule Worksheet:
Exterior Doors:
The exterior door section is for swinging doors only. Enter sliding doors in the vertical glazing section of the worksheet.
If a swinging door includes glazing, it may be entered in the vertical glazing schedule or in the exterior door schedule.
Obtain NFRC tested U-factors from the door manufacturer or use U-factors from WSEC Tables.
Table 10-6A Default U-Factors for Vertical Glazing (use for doors with greater than 50% glazing.)
Table 10-6C Default U-factors for Doors (limited to doors with less than 50% glazing.)
Area of windows, doors and skylights are measured using the rough opening area.
Glazing area in exterior doors is added to the total glazing area of the project as follows:
If greater than 50%, 100% of the area is entered in the door glazing area.
If less than or equal to 50%, only the glazed area will be entered in the door glazing area.
Exempt Door: One door, 24 feet or less is not included in the U-factor of glazing area calculations. You must calculate the door area to assure it is 24 square feet or less. This also enters the door heat loss into the heating system size calculation.
Vertical and Horizontal Glazing:
Obtain NFRC tested U-factors from the glazing supplier. These will give the most accurate and likely the most favorable results. If you can’t obtain this data, the tables in Chapter 10 of the WSEC must be used.
For default U-factors for vertical glazing, refer to table 10-6A
If window manufacturer can legitimately be claimed as a “small business” (as defined in Chapter 2 of the WSEC), you may use table 10-6B for default U-factors. Note: the term “small business” refers to the glazing manufacturer, not the builder or building owner.
For default U-factors for overhead glazing, refer to table 10-6E
If doors are being entered into the vertical glazing table, refer to table 10-6C and 10-6D.
Garden Window Exception Schedule
The WSEC allows double glazed, unrated garden windows with a wood or vinyl frame to be exempt from the U-factor calculation under the following rules.
The total area of this exemption is limited to 1 percent of the conditioned floor area up to a maximum
The area of the glazing must be multiplied by 3 and added to the total glazing area for the project.
Completing the Heating System Size Worksheet
This worksheet is used to calculate the design heat load of the structure. It also calculates the maximum heating system size required by code. This worksheet does not perform required cooling load calculations. Use Manual J or equivalent for cooling system size calculations.
Go to the Outdoor Design Temperature Worksheet Tab. Locate the outdoor design temperature for a location near the project site. You need to enter the design temperature on this worksheet.
Calculate and enter the volume of the interior space in the building (floor area x ceiling height).
Measure the dimensions of each exterior building assembly, wall, attic floor etc. Enter the area next to the R-value description that matches the construction. If a construction method is selected that is not represented here, select values from Chapter 10 of the WSEC and enter it in one of the blank spaces at the end of each components section.
Enter the correction factor for duct location. If the ducts are indoors, enter 1. If the ducts are in the crawl space, attic or garage, enter 1.15.

## General Compliance
Prescriptive Energy Code Compliance for Single Family and Duplex Housing: Zone 1
Project Information | [5 empty] | Contact Information
This set of forms has been developed to assist permit applicants documenting compliance with the
Washington State Energy Code, (2009 edition). This set is for structures built under the IRC and located
in Climate Zone 1.
The following forms provide much of the required documentation for plan review. The details noted here
must also be shown on the drawings (WSEC 104.2).
This form is not a substitute for the energy code itself. To obtain a copy of the energy code,
go to the following web address. http://www.energy.wsu.edu/code
Option | Glazing Area10: | Glazing U-Factor |  | Door 9 U-Factor | Ceiling2 | Vaulted Ceiling3 | Wall12 Above Grade | Wall· int4 Below Grade | Wall· ext4 Below Grade | Floor5 | Slab6 on Grade
| % of Floor | Vertical | Overhead11
| 13% | 0.34 | 0.5 | 0.2 | R-49 or R-38 Adv. | R-38 | R-21 Int.7 | R-21 TB | R-10 | R-30 | R-10 2'
| 25% | 0.32 | 0.5 | 0.2 | R-49 or R-38 Adv. | R-38 | R-21 Int.7 | R-21 TB | R-10 | R-30 | R-10 2'
| Unlimited | 0.3 | 0.5 | 0.2 | R-49 or R-38 Adv. | R-38 | R-21 Int.7 | R-21 TB | R-10 | R-30 | R-10 2'
See WSEC table 6-1 for footnotes
Radiant slab:
R-10 foam insulation, continuous with thermal break (WSEC 502.1.4.9)
Chapter 9 Options Total of 1 Credit Required
Opt. | Opt. Description
1a | High Efficiency HVAC Equipment 1 | [12 empty] | FALSE
1b | High Efficiency HVAC Equipment 2 | [12 empty] | FALSE
1c | High Efficiency HVAC Equipment 3 | [12 empty] | FALSE
2 | High Efficiency HVAC Distribution System | [12 empty] | FALSE
3a | Efficient Building Envelope 1 | [12 empty] | FALSE
3b | Efficient Building Envelope 2 | [12 empty] | FALSE
3c | Super-Efficient Building Envelope 3 | [12 empty] | FALSE
4a | Air Leakage Control and Efficient Ventilation | [12 empty] | FALSE
4b | Additional Air Leakage Control and Efficient Ventilation | [12 empty] | FALSE
5a | Efficient Water Heating | [12 empty] | FALSE
5b | High Effieciency Water Heating | [12 empty] | FALSE
6 | Small Dwelling Unit | [12 empty] | FALSE
7 | Large Dwelling Unit | [12 empty] | FALSE
8 | Renewable Electric Energy | [6 empty] | *1200 kwh |  |  |  |  | FALSE
Total Credits | [9 empty] | 0
TRUE
TRUE
TRUE
FALSE
Does not apply. (SEE INSTRUCTIONS) Using Prescriptive Option III. All glazing and doors meet maximum U-factor. Alternate heating size method submitted.
Option I or II, Glazing to floor area limit (WSEC 602.7.2)
Area weighted window, skylight or door U-factor (WSEC 602.7.2)
As part of the heating system sizing calculation (IRC M1401.3 & WSEC 503.2.2)
Note on C39: WSU EEP See "Chapter 9" tab for details.

## Chapter 9
TABLE 9-1
ENERGY CREDITS (DEBITS)
OPTION | DESCRIPTION | CREDIT(S)
1a | HIGH EFFICIENCY HVAC EQUIPMENT 1: | 1
Gas, propane or oil-fired furnace or boiler with minimum AFUE of 92%,
or
Air-source heat pump with minimum HSPF of 8.5.
1b | HIGH EFFICIENCY HVAC EQUIPMENT 2: | 2
Closed-loop ground source heat pump;
with a minimum COP of 3.3.
1c | HIGH EFFICIENCY HVAC EQUIPMENT 3: | 1
DUCTLESS SPLIT SYSTEM HEAT PUMPS, ZONAL CONTROL:
In home where the primary space heating system is zonal electric heating, a ductless heat pump system shall be installed and provide heating to at least one zone of the housing unit.
2 | HIGH EFFICIENCY HVAC DISTRIBUTION SYSTEM:1 | 1
All heating and cooling system components installed inside the conditioned space. All combustion equipment shall be direct vent or sealed combustion.
Locating system components in conditioned crawl spaces is not permitted under this option.
Electric resistance heat is not permitted under this option.
Direct combustion heating equipment with AFUE less than 80% is not permitted under this option.
3a | EFFICIENT BUILDING ENVELOPE 1: | 0.5
Prescriptive compliance is based on Table 6-1, Option III with the following modifications: Window U .= .28 floor R-38, slab on grade R-10 full, below grade slab R-10 full.
or
Component performance compliance: Reduce the Target UA from Table 5-1 by 5%, as determined using EQUATION 1.
3b | EFFICIENT BUILDING ENVELOPE 2: | 1
Prescriptive compliance is based on Table 6-1, Option III with the following modifications: Window U .= .25 and wall R-21 plus R-4 and R-38 floor, slab on grade R-10 full, below grade slab R-10 full, and R-21 plus R-5 below grade basement walls.
or
Component performance compliance: Reduce the Target UA from Table 5.1 by 15%, as determined using EQUATION 1.
3c | SUPER-EFFICIENT BUILDING ENVELOPE 3: | 2
Prescriptive compliance is based on Table 6-1, Option III with the following modifications: Window U .= .22 and wall R-21 plus R-12 and R-38 floor, slab on grade R-10 full, below grade slab R-10 full and R-21 plus R-12 below grade basement walls and R-49 advanced ceiling and vault.
or
Component performance compliance: Reduce the Target UA from Table 5.1 by 30%, as determined using EQUATION 1.
4a | AIR LEAKAGE CONTROL AND EFFICIENT VENTILATION: | 0.5
Envelope leakage reduced to SLA of 0.00020 building envelope tightness shall be considered acceptable when tested air leakage is less than specific leakage area of 0.00020 when tested with a blower door at a pressure difference of 50 PA. Testing shall occur after rough in and after installation of penetrations of the building envelope, including penetrations for utilities, plumbing, electrical, ventilation, and combustion appliances.
and
All whole house ventilation requirements as determined by Section M1508 of the Washington State Residential Code shall be met with a heat recovery ventilation system in accordance with Section M1508.7 of that Code.
4b | ADDITIONAL AIR LEAKAGE CONTROL AND EFFICIENT VENTILATION: | 1
Envelope leakage reduced to SLA of 0.00015 building envelope tightness shall be considered acceptable when tested air leakage is less than specific leakage area of 0.00015 when tested with a blower door at a pressure difference of 50 PA. Testing shall occur after rough in and after installation of penetrations of the building envelope, including penetrations for utilities, plumbing, electrical, ventilation, and combustion appliances.
and
All whole house ventilation requirements as determined by Section M1508 of the Washington State Residential Code shall be met with a heat recovery ventilation system in accordance with Section M1508.7 of that Code.
5a | EFFICIENT WATER HEATING:1 | 0.5
Water heating system shall include one of the following:
Gas, propane or oil water heater with a minimum EF of 0.62.
or
Electric Water Heater with a minimum EF of .93.
and for both cases
All showerhead and kitchen sink faucets installed in the house shall meet be rated at 1.75 GPM or less. All other lavatory faucets shall be rated at 1.0 GPM or less.2
5b | HIGH EFFICIENCY WATER HEATING:1 | 1.5
Water heating system shall include one of the following:
Gas, propane or oil water heater with a minimum EF of 0.82.
or
Solar water heating supplementing a minimum standard water heater. Solar water heating will provide a rated minimum savings of 85 therms or 2000 kWh based on the Solar Rating and Certification Corporation (SRCC) Annual Performance of OG-300 Certified Solar Water Heating Systems.
or
Electric heat pump water heater with a minimum EF of 2.0.
6 | SMALL DWELLING UNIT 1:1 | 1
Dwelling units less than 1500 square feet in floor area with less than 300 square feet of window .+ door area. Additions to existing building that are less than 750 square feet of heated floor area.
7 | LARGE DWELLING UNIT 1:1 | -1
Dwelling units exceeding 5000 square feet of floor area shall be assessed a deduction for purposes of complying with Section 901 of this Code.
8 | RENEWABLE ELECTRIC ENERGY: | 0.5
For each 1200 kWh of electrical generation provided annually by on-site wind or solar equipment a 0.5 credit shall be allowed, up to 3 credits. Generation shall be calculated as follows:
For solar electric systems, the design shall be demonstrated to meet this requirement using the National Renewable Energy Laboratory calculator PVWATTs. Documentation noting solar access shall be included on the plans.
For wind generation projects designs shall document annual power generation based on the following factors:
The wind turbine power curve; average annual wind speed at the site; frequency distribution of the wind speed at the site and height of the tower.
Footnotes: | 1. Interior Duct Placement: Ducts included as Option 2 of Table 9-1 shall be placed wholly within the heated envelope of the housing unit. The placement shall be inspected and certified to receive the credits associated with this option.
EXCEPTION:
Ducts complying with this section may have up to 5% of the total linear feet of ducts located in the exterior cavities or buffer spaces of the dwelling. If this exception is used the ducts will be tested to the following standards:
Post-construction test: Leakage to outdoors shall be less than or equal to 1 CFM per 100 ft2 of conditioned floor area when tested at a pressure differential of 0.1 inches w.g. (25 Pa) across the entire system, including the manufacturer's air handler enclosure. All register boots shall be taped or otherwise sealed during the test.
2. Plumbing Fixtures Flow Ratings. Low flow plumbing fixtures (water closets and urinals) and fittings (faucets and showerheads) shall comply with the following requirements:
(a) Residential bathroom lavatory sink faucets: Maximum flow rate ‑ 3.8 L/min (1.0 gal/min) when tested in accordance with ASME A112.18.1/CSA B125.1.
(b) Residential kitchen faucets: Maximum flow rate ‑ 6.6 L/min (1.75 gal/min) when tested in accordance with ASME A112.18.1/CSA B125.1.
(c) Residential showerheads: Maximum flow rate ‑ 6.6 L/min (1.75 gal/min) when tested in accordance with ASME A112.18.1/CSA B125.1

## Glazing Schedule
Glazing Schedule
Project Information |  |  |  | Contact Information
0 |  |  |  | 0
0 |  |  |  | 0
0 |  |  |  | 0
| Conditioned Floor Area | [9 empty] | Sum of UA for Heating System Sizing | 0
| Sum of All Glazing Areas From Below | 0
| Glazing to Floor Area Ratio | [9 empty] | 602.7.2 Exception Ratio (not to exceed 1%) | 0%
Exterior Doors
Plan | Component |  | Door | Percent |  | Width |  | Height |  | Glazing | Door | Door
ID | Description | Ref. | U-factor | Glazed | Qt. | Feet | Inch | Feet | Inch | Area | Area | UA
[9 empty] | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0
[10 empty] | 0 | 0 | 0
| One Exempt Swinging Door < 24 Square Feet | [7 empty] | 0 | 0 | 0 | 0
[9 empty] | Sum of Glazing Area, Door Area, and UA (do not include exempt door) | 0 | 0 | 0
[9 empty] | Area Weighted U = UA/Area |  |  | 0
[9 empty] | Sum of Area and UA for Heating system size only (include exempt door) | 0 | 0 | 0
Vertical Glazing (Windows, Glazed doors using Exception 602.6 #1)
Plan | Component |  | Glazing |  |  | Width |  | Height |  |  | Glazing
ID | Description | Ref. | U-factor |  | Qt. | Feet | Inch | Feet | Inch |  | Area | UA
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[9 empty] | Sum of Area and UA |  | 0 | 0
[9 empty] | Area Weighted U = UA/Area |  |  | 0
Overhead Glazing
Plan | Component |  | Glazing |  |  | Width |  | Height
ID | Description | Ref. | U |  | Qt. | Feet | Inch | Feet | Inch |  | Area | UA
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[9 empty] | Sum of Area and UA |  | 0 | 0
[9 empty] | Area Weighted U = UA/Area |  |  | 0
Doube Glazed Garden Windows Section 602.7.2 Exception
Plan | Component |  |  |  |  | Width |  | Height
ID | Description |  |  |  | Qt. | Feet | Inch | Feet | Inch |  | Area | UA
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[9 empty] | Sum of Area |  | 0
[9 empty] | Sum of Area X 3 (This total is automatically included in the glazing area total.) |  | 0
[9 empty] | Glazing UA for Heating System Size Only = Area X 0.63 |  |  | 0
See code text for footnote references
Select
One
Option
Note on I12: Width and Height. Enter the dimensions of the rough opening for each door.
Note on A13: Plan ID: Enter information that will help identify the component on the plans. For example, plan page, section number or schedule ID.
Note on B13: Component Description: Enter the manufacturer model number, and a description of the product. Include number of glazing layers, glazing coatings, thermal break and frame material.
Note on C13: Ref. What is the source of information for the U-factor. Manufacturer name? WSEC glazing tables ?
Note on E13: Door, Percent Glazed: Enter the percent of the door area that is glazed. If greater than 50%, 100% of the area is entered in the door glazing area. You may want to enter glazed doors in the vertical glazing schedule using exception # 1 to 602.6
Note on I25: Width and Height. Enter the dimensions of the rough opening for each glazing product.
Note on A26: Plan ID: Enter information that will help identify the component on the plans. For example, plan page, section number or schedule ID.
Note on B26: Component Description: Enter the manufacturer model number, and a description of the product. Include number of glazing layers, glazing coatings, thermal break and frame material.
Note on C26: Ref. What is the source of information for the U-factor. Manufacturer name? WSEC glazing tables ?
Note on D26: Glazing U-Factor: Provide NFRC tested U-factor provided by the manufacturer, or by reference from WSEC Table 10-6A or 10-6B.
Note on F26: Qt. Quantity.
Note on I52: Width and Height. Enter the dimensions of the rough opening for each glazing product.
Note on A53: Plan ID: Enter information that will help identify the component on the plans. For example, plan page, section number or schedule ID.
Note on B53: Component Description: Enter the manufacturer model number, and a description of the product. Include number of glazing layers, glazing coatings, thermal break and frame material.
Note on C53: Ref. What is the source of information for the U-factor. Manufacturer name? WSEC glazing tables ?
Note on D53: Door U-Factor: Provide NFRC tested U-factor provided by the manufacturer, or by reference from WSEC Table 10-6E.
Note on F53: Qt. Quantity.
Note on I65: Width and Height. Enter the dimensions of the rough opening for each glazing product.
Note on A66: Plan ID: Enter information that will help identify the component on the plans. For example, plan page, section number or schedule ID.
Note on B66: Component Description: Enter the manufacturer model number, and a description of the product. Include number of glazing layers, glazing coatings, thermal break and frame material.
Note on F66: Qt. Quantity.

## Heating Size
Simple Heating System Size: Climate Zone 1
Project Information | [5 empty] | Contact Information
0
0
0
Indoor Design Temperature |  |  |  | 70
Outdoor Design Temperature
Design Temperature Difference (∆T)
| ∆T = Indoor - Outdoor Design Temp |  |  | 70
Conditioned Floor Area |  |  |  | 0
Conditioned Volume
Glazing
Copy Sum of UA from Glazing Schedule |  |  |  | 0
Attic |  | U-Factor | X | Area | = | UA
| R-49 | 0.027 |  |  |  | 0
| R-38 Advanced | 0.026 |  |  |  | 0
0
Single Rafter or Joist Vaulted Ceilings
|  | U-Factor | X | Area | = | UA
| R-38 Vented | 0.027 |  |  |  | 0
0
Above Grade Walls |  | U-Factor | X | Area | = | UA
| R-21 | 0.056 |  |  |  | 0
0
Floors |  | U-Factor | X | Area | = | UA
| R-30 | 0.029 |  |  |  | 0
0
Below Grade Walls |  | U-Factor | X | Area | = | UA
| 2' Depth Walls | 0.042 |  |  |  | 0
| 3.5' Depth Walls | 0.041 |  |  |  | 0
| 7' Depth Walls | 0.037 |  |  |  | 0
0
Slab Below Grade |  | F-Factor | X | Length | = | UA
| 2' Depth | 0.59 |  |  |  | 0
| 3.5' Depth | 0.64 |  |  |  | 0
| 7' Depth | 0.57 |  |  |  | 0
0
Slab on Grade |  | F-Factor | X | Length | = | UA
| R-10 2' perimeter | 0.54 |  |  |  | 0
| R-10 Full - Heated | 0.55 |  |  |  | 0
0
Sum of UA | [5 empty] | 0
Envelope Heat Load | [5 empty] | 0 | Btu / Hour
Sum of UA X ∆T
Air Leakage Heat Load | [5 empty] | 0 | Btu / Hour
((Volume X 0.6) X ∆T) X .018))
Building Design Heat Load | [5 empty] | 0 | Btu / Hour
Air Leakage + Envelope Heat Loss
Building and Duct Heat Load |  |  |  | 1 |  | 0 | Btu / Hour
If ducts are located in unconditioned space: Sum of Building Heat Loss X 1.15
If ducts are located in conditioned space: Sum of Building Heat Loss X 1
Maximum Heat Equipment Output |  |  |  | 150% |  | 0 | Btu / Hour
Building and Duct Heat Loss X 1.50

## Outdoor Design Temperature
| Heating |  | Heating
| Design |  | Design
| Temp |  | Temp
Aberdeen 20 NNE | 25 | Medical Lake | 4
Anacortes | 24 | Medina | 24
Anatone | -4 | Mercer Island | 25
Appleton | 11 | Metaline Falls | -1
Auburn | 25 | Methow 2 W | 1
Battleground | 19 | Mountlake Terrace | 22
Bellevue | 24 | Mt. Spokane Summit | -2
Bellingham 2N | 19 | Mount Vernon 3 WNW | 20
Benton City 2 NW | 11 | Moxee City 10 E | 8
Bickleton | 4 | Mud Mtn. Dam | 23
Blaine | 17 | Nespelem 2 S | -4
Bothell 2 N | 17 | Newhalem | 19
Bremerton | 29 | Newport | -5
Brier | 24 | Normandy Park | 24
Buckley 1 NE | 26 | Northport | 2
Bumping Lake | -5 | Oak Harbor | 16
Burlington | 19 | Oakville | 20
Camas | 21 | Odessa | 7
Castle Rock | 23 | Olga 2 SE | 24
Cedar Lake | 20 | Olympia, AP. | 17
Centralia | 21 | Omak 2 NW | 3
Central Park | 27 | Opportunity | 8
Chehalis | 21 | Oroville | 5
Chelan | 10 | Othello | 9
Cheney | 4 | Packwood | 16
Chesaw | -11 | Palmer 3 SE | 22
Chewalah 2 S | -9 | Parkland | 20
Chief Joseph Dam | 6 | Pasco | 13
Clallam Bay 1 NNE | 28 | Plain | -3
Clarkston | 10 | Pleasant View | 16
Clearbrook | 19 | Pt. Grenville | 27
Clearwater | 26 | Pomeroy | 3
Cle Elum | 1 | Port Angeles | 28
Clyde Hill | 24 | Port Orchard | 29
Colfax 1 NW | 2 | Pon Townsend | 25
College Place | 6 | Priest Rapids Dam | 14
Colville AP | -2 | Prosser | 12
Conconully | -7 | Pullman Exp. Sta. | 1
Concrete | 19 | Puyallup | 19
Connell 4 NNW | 6 | Quilcene 2 SW | 23
Cougar 5 E | 25 | Quillayute AP | 23
Coulee Dam 1 SW | 9 | Quinault RS | 25
Coupeville 1 S | 21 | Quincy 1 NE | 4
Cushman Dam | 22 | Rainier, Longmire | 15
Dallesport AP | 14 | Paradise RS | 8
Darrington RS | 13 | Raymond | 28
Davenport | 5 | Redmond | 17
Dayton 1 WSW | 5 | Renton | 24
Deer Park 2 E | -5 | Republic | -9
Des Moines | 25 | Richland | 11
Diablo Dam | 15 | Rimrock Tieton Dam | 4
Dishman | 9 | Ritzville | 6
East Bremerton | 29 | Rosalia | 6
Edmonds | 24 | Ross Dam | 14
Electron Headwks | 16 | St. John | 15
Ellensburg AP | 2 | Sappho 8 E | 23
Elma | 24 | Satus Pass | 10
Eltopia 6 W | 9 | Seattle: Sea-Tac AP | 24
Elwha RS | 24 | Sedro Woolley 1 E | 19
Enumclaw | 26 | Selah | 11
Ephrata AP | 7 | Sequim | 23
Everett JC | 23 | Shelton | 23
Everett Paine AFB | 21 | Shoultes | 23
Fircrest | 29 | Skamania Fish Hatch. | 24
Forks I E | 23 | Smyrna | 8
Fort Lewis | 24 | Snohomish | 21
Fruitvale | 1.1 | Snoqualmie Falls | 22
Glacier RS | 13 | Snoqualmie Pass | 6
Glenoma (Kosmos) | 18 | South Broadway | 11
Goldendale | 7 | So. Olympic Tree Farm | 24
Grandview | 12 | Spanaway | 20
Grapeview | 30 | Spokane AP | 4
Grayland 2 S | 28 | Spokane CO | 10
Grays River Hatchery | 24 | Spokane Fairchild AFB | 4
Greenwater | 1.4 | Sprague | 4
Grotto | 21 | Stampede Pass | 7
Harrington 2 S | 3 | Startup 1 E | 20
Hartline | 7 | Stehekin 3 NW | 12
Hatton 8 E | 1 | Steilacoom | 21
Holden Village | 4 | Stevens Pass | 6
Hoquiam AP | 26 | Stockdill Ranch | -14
Ice Harbor Dam | 17 | Sumner | 19
Inchelium 2 NW | 0 | Sunnyside | 12
Issaquah | 23 | Tacoma McChord | 21
John Day Dam | 19 | Tacoma CO | 29
Kelso AP | 24 | Tatoosh Island | 31
Kennewick 10 SW | 13 | Thompson Place | 20
Kent | 21 | Tietort Intake | 6
Kid Valley | 20 | Toledo AP | 17
Kirkland | 17 | Toppenish | 11
Lacey | 17 | Trinidad 2 SSE | 13
Lacrosse 3 ESE | -3 | Tukwila | 24
La Grande | 23 | Tumwater | 17
Lake Cle Elum | -4 | University Place | 29
Lake Forest Park | 20 | Upper Baker Dam | 14
Lake Kachess | -2 | Vancouver | 22
Lake Keechelus | 0 | Vashon Island | 28
Lakewood Center | 23 | Walla Walla AP | 6
Landsburg | 18 | Walla Walla CO | 13
Larson AFB | 6 | Wapato | 10
Laurier | -8 | Washougal 8 ENE | 21
Leavenworth | -3 | Waterville | 1
Lemanasky Lake | -7 | Wawawai 2 NW | 14
Lind 3 NE | 6 | Wellpinit | 1
Linwood | 10 | Wenatchee AP | 13
Little Goose Dam | 22 | Wenatchee CO | 10
Long Beach 3 NNE | 25 | West Clarkston | 10
Longview | 24 | Whidbey Island | 11
Lower Granite Dam | 14 | White River RS | 12
Lower Monument Dam | 18 | White Swan RS | 8
Lynden | 18 | Whitman Mission | 11
Lynnwood | 24 | Wilbur | 4
Maloft | 4 | Willapa Harbor | 26
Marietta 3 NNW | 18 | Wilson Creek | 3
Marysville | 23 | Wind River | 15
McMillin Res. | 21 | Winthrop 1 WSW | -12
McNary Dam | 11 | Yakima AP | 11