## Sheet1
RFQ GSD136405 |  |  | Rev 082812
WV State Department of Administration Consolidated Agencies Building - LOGAN WV
UNIT PRICE BID SHEET
PART NUMBER | DESCRIPTION | UNIT | Unit Price
ATG 1003-xx | ALLEN TEL 3 FOOT All Colors CAT 6A PATCH CABLE | Each
ATG 1005-xx | ALLEN TEL 5 FOOT All Colors CAT 6A PATCH CABLE | Each
ATG 1007-xx | ALLEN TEL 7 FOOT All Colors CAT 6A PATCH CABLE | Each
ATG 1010-xx | ALLEN TEL 10 FOOT All Colors CAT 6A PATCH CABLE | Each
X-30-422 | BRADY IDXPERT Labels Size: 1.500" W x 0.750" H_Print Area _ 250 | Cart
XC-475-422 | BRADY IDXPERT GLOSS POLYESTER .475IN X 30 CONT | Cart
XC-1000-595-YL-BK | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _BK on YL | Cart
XC-1000-595-GN-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on GN | Cart
XC-1000-595-BL-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on BL | Cart
XSL-115-427 | BRADY IDXPERT Labels 1.500" W x .500" H_Print Area Self Lam _ 250 | Cart
CF54/100EZ | Cablofil - 2" x 4" cable tray - 10' Section | Each
SF100PG | Cablofil - Hangers-Center Hung | Each
SWKEZ | Cablofil - Splice Connectors Pack of 50 | Pack
57014-703 | Chatsworth Velocity Standard Pack | Pack
10250-718 | Chatsworth Ladder Tray 18" - 10' Section | Each
10595-718 | Chatsworth Ladder Tray 18" Top Plate Kit | Each
11421-718 | Chatsworth Ladder Tray 18" Wall Angle Support Kit | Each
13912-703 | Chatsworth Vertical Wire Manager | Each
760111187 | CommScope iPatch System Manager Enterprise 2000 | Each
760095562 | CommScope 360 iPatch Panel Manager | Each
760105353 | CommScope 360 iPatch Network Manager Module | Each
760092452 | CommScope GigaSPEED XL MGS600 Series Cat 6A U/UTP Info Outlet, 318-blue | Each
760152330 | CommScope iPatch 1100GS3 Evolve U/UTP Patch Panel, 48 port | Each
760152355 | CommScope iPatch 1100GS3 Evolve U/UTP Patch Panel, 24 port | Each
107952442 | CommScope M104 Type Surface Mount Box, four port ivory | Each
108216151 | CommScope Faceplate 4-Hole w/blanks_Modular Furniture | Each
876540410 | CommScope 10G4 ETL Verified Category 6A U/UTP Cable - plenum | Each
760008888 | CommScope GigaSPEED® XL 1571 Category 6 U/UTP Cable, outdoor, black | Feet
760126300 | CommScope 24 Strand Fiber Plenum TB Composite (12 SM/12 MM OM4) | Feet
FAXLCUC01-MXM002 | CommScope LC Fiber Pigtail OM4 Simplex 2 Meter | Each
760103085 | CommScope 360 G2-1U-MOD-SD 1U Fiber Shelf, sliding | Each
760109470 | CommScope 360 G2 Cartridge 12 LC Lazr Speed Aqua with Pigtails IPatch-ready | Each
760109496 | CommScope 360G2 Cartridge 12 LC Tera Speed Blue with Pigtails IPatch-ready | Each
760105148 | CommScope IPatch Upgrade Kit for 360 G2-1U-MOD-shelves | Each
760039867 | CommScope RS-2AF-16SF ROLO Splice Kit – each with 2X fusion splice tray 1U Shelf | Each
FDXLCLC42-MXF003 | CommScope 3 FOOT - LC/LC Jumper Cable - MM | Each
FDXLCLC42-MXF007 | CommScope 7 FOOT - LC/LC Jumper Cable - MM | Each
760072942 | CommScope 1U SS Horizontal Trough Kit | Each
760072959 | CommScope 2U SS Horizontal Trough Kit | Each
760103796 | CommScope M61A-318 BLUE ICON - 100 \ bag | Each
RCURN082 | GEIST - 102D20ST5-OD Switched Ultra PDU | Each
RTAFHD3-12 | GEIST - Remote Temperature, Humidity, Air Flow, and Dew Point Sensor, 12' cord | Each
GBI14420TMGBKT | HAGER 1/4" X 4" X 20" TMGB KIT | Each
GBI14212TGBKT | HAGER 1/4" X 2" X 12" TGB KIT | Each
IMSOC10-1 | Pelco - Sarix MiniDome .5 Megapixel Fixed Camera | Each
EZDP44S | STI 44+Single Pathway Kit w/ 1 Pathway, Two (2) Mount Plates And Labels | Each
EZRCM44S | STI Radius Control Module - One Pair (2) For Use With Series 44+ Pathway | Each
SU16000RT4U | TRIPP-LITE SMARTONLINE 16 KVA HOT-SWAPPABLE UPS | Each
SNMPWEBCARD | TRIPP-LITE INT SNMP/WEB UPS ADAPTER | Each
BP192V18-4U | TRIPP-LITE EXTERNAL BATTERY PACK FOR UPS SYSTEM | Each
PDUMV20 | TRIPP-LITE METERED PDU 20A VERT 60IN 20 OUTLETS | Each
PDUMV30HV | TRIPP-LITE 30A VERT MTRD PDU W/L6-30P | Each
P036-006 | TRIPP-LITE 6FT AC POWER SPLITTER CABLE | Each
SR4POST25 | TRIPP-LITE 25U 4-POST SMARTRACK OPEN FRAME RACK | Each
W02-BW2-1BD | TRIPP-LITE Factory Start-Up | Each
Quoted price per hour for lobor outside of Base Bid; for Change Order Purposes Only |  | Hour