## Sheet1
PART NUMBER | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | EXTENDED PRICE
District 6 HQ and DMV Regional Offices
ATG 1003-xx | ALLEN TEL 3 FOOT All Colors CAT 6A PATCH CABLE | Each | 200 |  | 0
ATG 1005-xx | ALLEN TEL 5 FOOT All Colors CAT 6A PATCH CABLE | Each | 550 |  | 0
ATG 1007-xx | ALLEN TEL 7 FOOT All Colors CAT 6A PATCH CABLE | Each | 550 |  | 0
ATG 1010-xx | ALLEN TEL 10 FOOT All Colors CAT 6A PATCH CABLE | Each | 550 |  | 0
X-30-422 | BRADY IDXPERT Labels Size: 1.500" W x 0.750" H_Print Area _ 250 | Cart | 20 |  | 0
XC-475-422 | BRADY IDXPERT GLOSS POLYESTER .475IN X 30 CONT | Cart | 20 |  | 0
XC-1000-595-YL-BK | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _BK on YL | Cart | 5 |  | 0
XC-1000-595-GN-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on GN | Cart | 4 |  | 0
XC-1000-595-BL-WT | BRADY IDXPERT OUTDOOR VINYL 1.0IN X 30 FT _WT on BL | Cart | 2 |  | 0
XSL-115-427 | BRADY IDXPERT Labels 1.500" W x .500" H_Print Area Self Lam _ 250 | Cart | 10 |  | 0
CF54/100EZ | Cablofil - 2" x 4" cable tray - 10' Section | Feet | 30 |  | 0
SF100PG | Cablofil - Hangers-Center Hung | Each | 50 |  | 0
SWKEZ | Cablofil - Splice Connectors Pack of 50 | Each | 75 |  | 0
12419-736 | Chatsworth - 36" Wall Mount Cabinet | Each | 10 |  | 0
12804-701 | Chatsworth - Fan Kit, 115 VAC, 100 CFM | Each | 0 |  | 0
57014-703 | Chatsworth Velocity Standard Pack | Pack | 15 |  | 0
10250-718 | Chatsworth Ladder Tray 18" Section 10' | Feet | 10 |  | 0
10595-718 | Chatsworth Ladder Tray 18" Top Plate Kit | Each | 15 |  | 0
11421-718 | Chatsworth Ladder Tray 18" Wall Angle Support Kit | Each | 30 |  | 0
13912-703 | Chatsworth Vertical Wire Manager | Each | 20 |  | 0
760111187 | CommScope iPatch System Manager Enterprise 2000 | Each | 1 |  | 0
760095562 | CommScope 360 iPatch Panel Manager | Each | 6 |  | 0
760105353 | CommScope 360 iPatch Network Manager Module | Each | 6 |  | 0
760092452 | CommScope GigaSPEED XL MGS600 Series Cat 6A U/UTP Info Outlet, 318-blue | Each | 1600 |  | 0
760152330 | CommScope iPatch 1100GS3 Evolve U/UTP Patch Panel, 48 port | Each | 15 |  | 0
760152355 | CommScope iPatch 1100GS3 Evolve U/UTP Patch Panel, 24 port | Each | 10 |  | 0
107952442 | CommScope M104 Type Surface Mount Box, four port ivory | Each | 400 |  | 0
108216151 | CommScope Faceplate 4-Hole w/blanks_Modular Furniture | Each | 200 |  | 0
844160410 | CommScope 10GN4 ETL Verified Category 6A U/UTP Cable | Each | 27 |  | 0
760008888 | CommScope GigaSPEED® XL 1571 Category 6 U/UTP Cable, outdoor, black | Each | 5 |  | 0
760146498 | CommScope 24 Strand Fiber I/O TB Composite (12 SM / 12 MM) | Feet | 3250 |  | 0
FAXLCUC01-MXM002 | CommScope LC Fiber Pigtail OM4 Simplex 2 Meter | Each | 8 |  | 0
760105171 | CommScope 360 iPatch® G2 LC Fiber Shelf, sliding | Each | 5 |  | 0
760039867 | CommScope RS-2AF-16SF RoloSplice Kit E/W 2x Fusion Splice Tray 1U Shelf | Each | 7 |  | 0
FDXLCLC42-MXF003 | CommScope 3 FOOT - LC/LC Jumper Cable - MM | Each | 12 |  | 0
FDXLCLC42-MXF007 | CommScope 7 FOOT - LC/LC Jumper Cable - MM | Each | 12 |  | 0
760072942 | CommScope 1U SS Horizontal Trough Kit | Each | 15 |  | 0
760072959 | CommScope 2U SS Horizontal Trough Kit | Each | 30 |  | 0
760103796 | CommScope M61A-318 BLUE ICON - 100 \ bag | Each | 20 |  | 0
RCURN082 | GEIST - 102D20ST5-OD Switched Ultra PDU | Each | 20 |  | 0
RTAFHD3-12 | GEIST - Remote Temperature, Humidity, Air Flow, and Dew Point Sensor, 12' cord | Each | 20 |  | 0
GBI14420TMGBKT | HAGER 1/4" X 4" X 20" TMGB KIT | Each | 2 |  | 0
GBI14212TGBKT | HAGER 1/4" X 2" X 12" TGB KIT | Each | 20 |  | 0
IMSOC10-1 | Pelco - Sarix MiniDome .5 Megapixel Fixed Camera | Each | 8 |  | 0
EZDP44S | STI 44+Single Pathway Kit w/ 1 Pathway, Two (2) Mount Plates And Labels | Each | 35 |  | 0
EZRCM44S | STI Radius Control Module - One Pair (2) For Use With Series 44+ Pathway | Each | 15 |  | 0
SU1000RTXL2UA | SmartOnline 1kVA Dble-Conversion UPS, Rack/Tower, 100/110/120V NEMA outlets | Each | 20 |  | 0
SNMPWEBCARD | For remote monitoring and control via SNMP, Web or Telnet | Each | 20 |  | 0
BP24V15RT2U | External Battery Pack for UPS System | Each | 5 |  | 0
0
0
0
0
| Materials Price |  |  |  | 0
| Installation Price |  |  |  | 0
| District 6 HQ and DMV Regional Offices - Total Bid Price |  |  |  | 0
Quoted price per hour for labor outside of original Purchase order. Used for Change Order purpose only. |  | Hour