## 6yrPlan As Submitted OSBM
The University of North Carolina
Requests to the Board of Governors from Constituent Institutions and Affiliates for Repair and Renovations Project for the Six-Year Period 2013-14 through 2018-19 | Project Type Totals ($) | Total Project Cost ($) | FCAP Reference (ASSET NO. /DEF/NO.) | OC-25 Attached (Yes/NO) | Comments
Western Carolina University | 40097463.88
Roof repairs and replacements | 2612700
Roof Replacement - Stillwell at Greenhouse |  | 43200 | See Justification | No | To provide snow & ice block at new metal roof to project greenhouse below
Roof Replacement - Ramsey Activity Center Plaza Deck & Curtain Wall |  | 2029500 | 00000106-0/08-G116 | Yes | The roof replacement is impacted by rework of the curtain wall - flashings, etc.
Roof Replacement -- Ramsey Activity Center -- Main Roof
Roof Replacement - Hoey Building |  | 172800 | 00000012-0/08-G030 | No
Roof Replacement - Facilities Management Building |  | 151200 | 00000047-0/08-G083 | No
Roof Replacement - CAT Building (Regional Labor Force Dev) |  | 151200 | 00000137-0/08-G120 | No
Roof Repair - Warehouse and Storge |  | 32400 | 00000109-0/08-G117 | No
Roof Replacement (partial) - Reid Gym |  | 32400 | 00000014-0/08-G034 | No
Structural repairs | 13211510.4
Dam Repair-Tuckaseegee River Water Plant Impoundment (Study) |  | 332640 | See Justification | No | Flood waters from recent hurricanes caused severe erosion & near breaching of right abutment.
Concrete Floor Repair - Ramsey Activities Center |  | 193536 | 00000106-0/08-G112 | No
Exterior Wall Repair - Forsyth Building |  | 205632 | 00000043-0/00 G150 00000043-0/08-G069 | No
Exterior Wall Repair - Killian Annex Building |  | 251596.8 | 00000039-0/08-G065 | No
Exterior Wall Repair - Hunter Library, Walls and Elevated Walkways |  | 1806779.52 | See Justification | No | Increasing concern to address brick joints and concrete & steel of elevated walkway
Exterior Wall Repair - McKee Building |  | 120960 | 00000013-0/08-G032 | No
Bridge Replacement - Picnic Area and Ramsey & Athletic Center Creek Lot |  | 135000 | 51000000-0/04-G154 | No | Not in 2008 FCAP Report but still needed
Exterior Wall Repair - Killian Building |  | 162000 | See Justification | No | Caulk joints at limestone panels, fascia and soffits have deteriorated.
Exterior Wall Repair - Moore Building |  | 108864 | 00000004-0/08-G016 | No
Exterior Repair and Replacement - H.F. Robinson Building |  | 9220582.08 | See Justification | No | Exposed aggregate finish separating from precast wall panels. Wall panels need replaced.
Exterior Repair - Belk Entrance Bridge |  | 25920 | 00000044-0/08-G071 | No
Exterior Repair - Stillwell Building |  | 648000 | 0000010-0/08-G027 | No
Repairs and renovations to meet Federal and State Standards | 0
Repairs to electrical, plumbing and heating, ventilating, and air-conditioning systems | 2504217.6
Generator Replacement - Coulter Building |  | 60480 | 00000086-0/08-E053 | No
Stage Rigging Repair - Hoey Auditorium |  | 270000 | See Justification | No | Recent issues with safety of rigging, lighting grid, etc.
Cooling Tower Replacement - Killian Annex |  | 30240 | 00000039-0/08-M033 | No
Generator Replacement - Hunter Library |  | 90720 | 00000009-0/04-E041 00000009-08-E011 | No
HVAC Improvements - Natural Science Building |  | 1112832 | 00000050-0/08-G088 | No
Boiler Replacement - Jordan Phillips Fieldhouse |  | 104025.6 | See Justification | No | Need to abandon UST fuel tanks and provide more efficient system.
Boiler Replacement - Camp Lab Building |  | 211680 | See Justification | No | Need to abandon UST fuel tanks and provide more efficient system.
Boiler Replacement - Facilities Management |  | 30240 | 00000047-0/08-M042 | No
Air Handling Unit and Controls Upgrade - Killian Annex |  | 151200 | 00000039-0/08-M032 | No
Electrical Upgrades - Ramsey Regional Activiy Center |  | 120960 | 00000106-0/08-E061 00000106-0/08-E062 | No
Miscellaneous HVAC, Steam, and Electrical Repairs |  | 120960 | See Justification | No | To provide for deferred repair items (pumps, cooling towers, etc.).
Water Heater Replacement - Jordan-Phillips Fieldhouse |  | 8640 | 00000049-0/08-M043 | No
Exhaust for Mechanical Room -- Old Student Union Building |  | 5400 | 00000029-0/08-M029 | No
Glycol System Repair - CAT (Regional Labor Force Dev) |  | 10800 | 00000137-0/08-M055 | No
Emergency Generator Replacement - Steam Plant |  | 48600 | 00000019-0/08-E023 | No
Electrical Re-wiring -- Water Treatment Plant |  | 27000 | 00000030-0/08-E033 | No
Electrical Panel Replacement - Reid Gym |  | 54000 | 0000014-0/08-E015 | No
Heat Recovery Unit Repair - Ramsey Regional Activity Center |  | 21600 | 00000106-0/08-M050 | No
Electrical Panel Replacement - Ramsey Regional Activity Center |  | 16200 | 00000106-0/08-E066 | No
Electrical Panel Replacement - Belk Building |  | 8640 | 00000044-0/08-E038 | No
Improvements to meet the requirements of the Americans with Disabilities Act 42 U.S.C. ; 12101,et seql, as amended | 1736640
Continuation of Campus-wide Program |  | 486000 | See Justification | No | Provides funds to continually address ADA items in current ADA Transition Plan (2008) + FCAP.
Automatic Door Installation-Campus-wide |  | 120960 | See Justification | No | To address ADA required corrective measure.
Elevator - Old Student Union Building |  | 362880 | See Justification | No | To address ADA required corrective measure.
Elevator Replacement - Belk Building |  | 604800 | 00000044-0/08-G072 | No
Elevator Replacement - Coulter Building |  | 162000 | 00000086-0/08-G098 | No
Improvements to meet fire safety needs | 3030048
Fire Alarm System Panel Replacement -- Hunter, HFR, Coulter |  | 193536 | 00000009-08-E007 | No
Fire Safety Renovations - Hunter Library |  | 1657152 | 00000009-0/08-M010 | No
Correct Fire Safety Deficiencies - Moore Building |  | 302400 | 00000004-0/08-G013 | No
Sprinkler System Install - Belk Building |  | 695520 | 00000044-0/08-M040 | No
Fire Alarm System - Grounds Maintenance Building |  | 30240 | 00000017-0/08-E018 & 00000017-0/08-E019 | No
Fire Alarm Replacement - Ramsey Regional Activity Center |  | 108000 | 00000106-0/08-E063 & 00000106-0/E-065 | No
Egress Lighting - HF Robinson Building |  | 5400 | 00000081-0/08-E048 | No
Egress Lighting - Regional Activity Center |  | 10800 | 00000106-0/08-E060 | No
Exit Light Replacement -- Warehouse and Storage Building |  | 27000 | 00000109-0/08-E067 | No
Improvements to existing facilities for energy efficiency | 350784
Window Replacement - Reid Gymnasium Pool |  | 350784 | 00000014-0/04-G047 | No | Not in 2008 FCAP Report
Improvements to remove asbestos, lead paint, and other contaminants, including the removal and replacement of underground storage tanks | 130680
Continuation of Campus-wide Asbestos Abatement Program |  | 130680 | See Justification | No | Provide for abatement of ACM discovered during minor repairs and in-house projects.
Improvements and renovations to improve use of existing space | 7133225.8
Ground Floor Carpet Replacement - Hunter Library |  | 357436.8 | See Justification | No | Scheduled carpet replacement.
Flooring Replacement - Coulter Band Music Classroom |  | 216000 | See Justification | No | Carpet flooring in need of replacing w/ hard surface for acoustic need -- band practice function
Conversion of pool area to offices - Breese Gym |  | 1296000 | See Justification | No | Existing swimming pool equipment bad condition, therefore use space for offices - more important need.
Bleacher Removal - Reid Gym |  | 10800 | See Justification | No | Space not used for spectator and academic program needs additional space for programs.
Comprehensive Renovation - Graham Building |  | 3386880 | 00000020-0/08-G045 | No | Major renovations needed in order to occupy building. Asbestos abatement already performed.
Renovation - Chemical Storage Building |  | 120960 | See Justification | No | To modify structure for general use and occupancy.
Exterior Ticket Window - Ramsey Activity Center |  | 120960 | See Justification | No | To improve and increase speed of service for customers.
Back Porch Replacement - Bird Alumni House |  | 66528 | 00000032-0/08-G058 | No
Miscellaneous Renovation - Window Replacement -- Old Student Union Building |  | 54000 | 00000029-0/08-G056 | No
Various Minor Building Renovation Projects (reduced from 1,814,400) |  | 1503661 | See Justification | No | To address minor building renovations as needs arise.
Historical restoration | 0
None on campus
Improvements to roads, walks, drives, utilities infrastructure | 9055018.08
Sanitary Sewer Infrastructure Improvements -- Campus Wide |  | 340092 |  | No
Water Distribution Infrastructure Improvements -- Campus Wide |  | 243216 |  | No
Steam Condensate Line Replacement -- Campus Wide |  | 465048 |  | No
Sanitary Sewer System - Repair and Replacement |  | 598872.96 | 31000000-0/08-M056 31000000-0/08-M057 | No
Exterior Lighting Improvements |  | 211680 | 23000000-0/08-E074 | No
Undersized Water Mains Replacement, Non-Functioning Valves and Upgrade Lines |  | 2177280 | 32000000-0/08-M058 | No
Upgrade Storm Drainage System - Campus-wide |  | 453600 | 33000000-0/08-M060 | No
Electrical Distribution Lines Upgrade - Campus Wide |  | 486000 | 44000000-0/08-E075 | No
Overhead Electric Distribution Replacement with Underground - University Outreach Center (Camp Building) |  | 109952.64 | 44000000-0/00-E048 | No | Not in 2008 FCAP Report
Walk Repair and Replacement - Campus Wide |  | 216000 | 24000000-0/08-G126 & 00000086-0/08-G097 | No
Elevated Walkway - Buzzard Roost Road |  | 120960 | See Justification | No | To provide safe pedestrian access.
Steam Distribution System Replacement - Harrill and Albright-Benton |  | 2654873.28 | 41000000-0/08-M061 | No
Pavement Repair - Facilities Parking and Service Drive |  | 120960 | 22000000-0/08-G125 | No
Pavement Repair - Chancellors Drive North |  | 87091.2 | 22000000-0/08-G125 | No
Water Line installation for Dual Feed - Steam Plant |  | 30240 | See Justification | No | To provide redundanct feed to Steam Plant.
Water Line to Greenhouse Replacement |  | 96768 | See Justification | No | To replace deteriorated existing line.
Pavement Repair - Picnic Shelter Drive |  | 48384 | 22000000-0/08-G125 | No
Pavement Repiar - Joyner Drive |  | 270000 | See Justification | No | Pavement failing - improve storm drainage system
Campus Wide Data Infrastructure Upgrade |  | 324000
Drainage and landscape improvements | 332640
Site Improvement and Irrigation System - Killian Quad |  | 120960 | See Justification | No | Provides landscaping and irrigation for recently renovated building or area.
Site Improvement and Irrigation System - Belk South Entry |  | 90720 | See Justification | No | Provides landscaping and irrigation for recently renovated building or area.
Landscape and Drainage Improvements-Miscellaneous |  | 120960 | See Justification | No | Provides landscaping and irrigation for recently renovated building or area.
GRAND TOTAL | 20048731.94 | 40097463.88
20048731.94