## Slide 1
Opening Conference
Month, Year
VHA CEMP Analysis
Assessing VHA’s Comprehensive Emergency Management Program
This document is confidential and is intended solely for the use and information of the client to whom it is addressed.
Notes: Booz Allen Hamilton Standard Colors
Colors should be used in the color pairs whenever possible. Do not mix and match colors, use pairs together as shown.
Black, White and Gray can be used with any of the other colors.
Purple Pantone 2765
R 12
G 4
B 79
Green Pantone 357
R 15
G 67
B 24
Blue Pantone 2 88
R 11
G 31
B 101
Black
Pantone Cool Gray 6
R 158
G 158
B 158
Red Pantone 485
R 252
G 5
B 14
Yellow Pantone 3965
R 232
G 244
B 4
Aqua Pantone 319
R 126
G 204
B 189
White

## Slide 2: Table Of Contents
Introductions
Purpose of our visit to (Insert Location)
Background
Approach
Process
Questions

## Slide 3: Table Of Contents
Introductions
Purpose of our visit to (Insert Location)
Background
Approach
Process
Questions

## Slide 4: Introduction to VHA Assessment Team
Contact | Role
(Insert Name) | Project lead
(Insert Name) | Assessor
(Insert Name) | Assessor
(Insert location) Points of Contact

## Slide 5: Table Of Contents
Introductions
Purpose of our visit to (Insert Location)
Background
Approach
Process
Questions

## Slide 6: Emergency Management Program Assessment Purpose of the Site Visit
Provides an opportunity for the team to evaluate capabilities that will help us answer the question, “Is the (Insert Location) ready?”
Collects additional data that has not been obtained through the pre-site visit survey
Provides the greatest opportunity for the team to offer formative guidance on the VAMC’s emergency preparedness planning and response activities
During the site visit, the team will evaluate your Emergency Management Program capabilities through a series of facility tours, interviews, demonstrations and exercises.

## Slide 7: Table Of Contents
Introductions
Purpose of our visit to (Insert Location)
Background
Approach
Process
Questions

## Slide 8: VHA EMP Assessment Goals: To improve overall VHA EMP capability
Main objective of VHA’s Comprehensive Emergency Management Program (CEMP) evaluation is to answer the overarching question of “Are we ready?” This will be done through:
  Performing capabilities analyses to identify successes and best practices
  Providing feedback to medical centers, VISNs, and VHA Central Office (CO) to improve capabilities and systemic issues requiring national attention
  Working collaboratively with input from VA and external steering committees to identify opportunities for continuous quality improvement
  Examining regulatory compliance with organizations in advance of scheduled assessments
Formative guidance will be provided to hospitals and VISNs during capabilities assessment by:
  Identifying mentor/mentee relationships among VAMCs
  Sharing lessons learned
  Conducting education Tabletop
  Discussing emerging issues in hospital preparedness

## Slide 9: Table Of Contents
Introductions
Purpose of our visit to (Insert Location)
Background
Approach
Process
Questions

## Slide 10: Scope of the assessment includes VISNs, VAMCs, and VHA CO program offices
To identify relevant VAMC capabilities, the Assessment Team examined VHA’s significant missions in a disaster:
  Program Level
  Incident Management
  Continuity and Resiliency
  Occupant Safety
  Medical Surge
  Support to External Requirements
To identify the capabilities that enable each mission area, the team:
  Conducted a thorough review of various standards relevant to the healthcare sector
  Convened an expert panel to discuss preparedness, planning, mitigation, response and recovery capabilities
  Consulted with 2 steering committees:
    VHA Steering Committee
    Federal Partner Steering Committee

## Slide 11: Site visits are focused on EMP capabilities
Identified 69 capabilities to assess
Capabilities identified by iterative process based upon defined mission.
Consistent framework for defining each capability.
Capability Element | Assessment components
Resources | 
Supplies | Supplies needed to operate an emergency power program are identified, up to date and properly stored.
Facilities/Equipment | Equipment including generators, switch gear, fuel pumps and circuitry are identified as a critical utility as part of The Joint Commission Environment of Care Standards Utilities Management program. Critical components are included in a preventive maintenance program. Facilities housing generators are maintained in accordance with NFPA standards.
Personnel | VAMC has sufficient number of engineers and electricians to sustain operations of the emergency generators VAMC demonstrates the ability to contact electrical power supplier during an emergency 24/7.
Education/training | VAMC personnel responsible for this system are fully trained in emergency power operations.
Exercise | Emergency generators are tested monthly A utility disconnect test for the emergency power system is conducted tri-annually
Evaluation | There is evidence of an annual evaluation of the emergency generator program including logs of required tests and identified trends reported to the VAMC Environment of Care committee.
Organizational learning | Lessons learned from regular testing and annual evaluation need to be incorporated into this program on an annual basis.
Capability: Management and Maintenance of Fixed and Portable Electrical Generator Resiliency
EXAMPLE

## Slide 12: Measurement scale was developed for evaluating capabilities
Sliding scale to define level of each capability.
  Exemplary is defined by meeting all of the elements in the capability Table.
  Developed defined by having a functional capability and/or meeting underlying regulatory requirement.
  Absence of capability defines lower end.
Capabilities are mapped to site visit activities.
4 | Exemplary | All of the above assessment components are present including the conduct of the tri-annual utility disconnect test for at least 4 hours. VAMC has a contingency plans for areas not provided emergency power.
3 | Excellent | Resources and training are in place. The emergency generators are tested monthly and the Tri-annual utility disconnect test is run for at least 4 hours..
2 | Developed | Emergency generators are tested monthly as required by TJC and the NFPA. Planning for Tri-annual utility disconnect test but haven’t conducted it.
1 | Being Developed | Emergency generators are tested monthly as required by TJC and the NFPA.
0 | Needs Attention | Absence of capability demonstrated by less then monthly testing of the emergency generators.

## Slide 13: Table Of Contents
Introductions
Purpose of our visit to (Insert Location)
Background
Approach
Process
Questions

## Slide 14: We propose several steps in the data collection methodology
Opening conference
Group and Individual interviews
Tours of specialty areas and Tabletop exercises
Document reviews
Capability observations
Closing Conference
Examples include:
Associate Director
EPC
EMC
Chief of Staff
Nurse Executive/Key Staff
Chief of Medicine
Chief of Pharmacy
ED Director
Chief of Acquisitions and Materials Management
Chief Fiscal Officer
Chief of Police
Chief Information Officer
Chief Engineer
Chief Safety Officer
Chief of Food Services
Examples include:
EOC
Decon sites
ED
VA All-Hazard Emergency Cache sites
Potable water storage areas
Location of alternate care sites
Examples include:
EOC activation and management
Cascade callback of critical staff
Decon set up
PPE donning and doffing
Satellite technology
Examples include
HVA
EOP
After Action Reports
Sharing agreements

## Slide 15: Capabilities Assessment Reporting
Facility Closing Conference: Concluding our visit, we will provide a briefing during the exit conference that will summarize your capabilities
Quarterly Emergency Management Coordination Group (EMCG) Briefings:
  Each quarter Booz Allen will provide a status briefing to the EMCG, which will comprise of a high level presentation of the status of the facilities assessed to date, including the facilities visited and any emerging best practices, challenges and policy issues in emergency management that need to be addressed
Final Report:
  Booz Allen will present the summary results of the combined facility assessments in a report due at the end of the fiscal year

## Slide 16: The Assessment Team tested the proposed assessment methodology through pilot site visits to produce a mutually agreeable and stable tool suite
Assessment element identification
Peer reviewed journals
Industry standards
Previous VHA hospital preparedness survey
Pilot Phase
Pre-survey
Site visit Assessor’s guide
Training and preparation
EM concepts
CEMP analysis overview
Assessment criteria
Pre-survey
Compliance assessment
Identify key issues
Preparedness focused
Context for assessors
Site visit
In-brief
Interviews
Facility tour
Document reviews
Facilitated discussions
Competency assessment
Tabletop exercise
Outbrief
Reporting
Facility outbrief
Quarterly reports to EMCG
Final report
Sharing of best practices
Publishing common themes and trends
Modify pilot process
Implementation planning
Revision Phase
Assess effectiveness of process, training, and tools
Revise as necessary
Site selection
Team assignments
Introductory letters
Pre-survey
Site visit
Reporting
Implementation Phase
Develop Suite of Tools
We are here

## Slide 17: Table Of Contents
Introductions
Purpose of our visit to (Insert Location)
Background
Approach
Process
Questions

## Slide 18
Questions?